## Slide 1: Spreadsheet Final Presentation
Singapore’s water needs
Lin Shuyan
Kenneth Low Yan Wei
Peace Tay Jiunn Ching
Widya Tantiya Yutika
Yap Pin Yaw

## Slide 2: By 2061, imported water is no more Desalination Newater Local catchment
Process of converting sea water into fresh water
Recycle waste water into fresh water
Collect rainwater and process into fresh water
Also known as drinking water
Supplied to households (“Domestic”)
And offices/shopping malls etc (“Non-domestic”)
Used for industry, factories, construction
Supplied to factories for washing, irrigation etc
Can be mixed with raw water and processed to become drinkable
Imported water
Purchase raw water from Malaysia, Johore
Potable water
Non-potable water

## Slide 3: Government 2060 Target
Water
Non-Potable
Potable
Domestic
Non-Domestic
Industrial
NEWater
^30%
*70%
^30% of Singapore’s total water needs in 2060
*Government’s projections based on economic growth

## Slide 4
Assumptions
Infrastructure
Environmental
People
Capacity of future and new water plants is the average of 3 newest existing plants
Singapore will always have 2 months worth of potable water reserve stored
70 percent water loss via surface evaporation
10 percent water loss via seepage underground
Government’s water conservation target of daily 130 liter per capita by 2030 is met
Population, and economy continues to grow until 2060

## Slide 5: Analysis Approach
Low water demands | Expected water demand | High water demands
Low population projection | Expected population projection | High population projection
High rainfall | Expected rainfall | Low rainfall
High Conservation Effort | Expected Conservation Effort | Low Conservation Effort
High water price | Expected water price | Low water price
What is the water supply needed?

## Slide 6: Computation
Variables | Method
Population projection | Base population * Birth rate * Death Rate + Net migration
Local catchment | Land area * Rainfall
Water price curve | Demand sensitivity of 0.4 [Based on literature]
Conservation efforts | Linear decrease [Government target]
Portable Water Reserve | Current Supply – Current Demand = 2 months Supply
Demonstration of model
Excel demo

## Slide 7
Scenario 1 - Expected water demands
Expected water demands
Medium population projection
Medium rainfall
Expected Conservation Efforts
Medium water price hike
Agreement ends in 2040
# New Build Desalination Plant | 3
# Plants | Required by
1 | Year 2040
2 | Year 2051
3 | Year 2062
# New Build NEWater Plant | 6
# Plants | Required by
1 | Year 2038
2 | Year 2044
3 | Year 2049
4 | Year 2053
5 | Year 2056
6 | Year 2059

## Slide 8
Scenario 2 - Low water demands
Low water demands
Low population projection
High rainfall
High Conservation Effort
High water price hike Agreement ends in 2061
# New Build NEWater Plant | 3
# Plants | Required by
1 | Build by Year 2042
2 | Build by Year 2051
3 | Build by Year 2060
Potable water demand decreases due to low population (~6m in 2060) and aggressive water conservation
No new desalination plant needed

## Slide 9
Scenario 3 - High water demands
High water demands
High population projection
Low rainfall
Low Conservation Effort
No water price hike Agreement ends in 2022
# New Build Desalination Plant | 9
# Plants | Required by
1, 2 | Year 2022
3 | Year 2036
4 | Year 2042
5 | Year 2047
6 | Year 2052
7 | Year 2057
8 | Year 2061
9 | Year 2065
# New Build NEWater Plant | 9
# Plants | Required by
1 | Year 2036
2 | Year 2041
3 | Year 2045
4 | Year 2049
5 | Year 2052
6 | Year 2054
7 | Year 2057
8 | Year 2059
9 | Year 2062

## Slide 10
Land constraint estimation
Average size of NEWater and Desalination plant is ~265,000 m2
19 plants = 5 million m2
Based on URA MP2019, there is *14 million m2 set aside for Utilities (including water plants)
*14 million includes existing facilities and infrastructure
URA Master Planning Map 2022
^Illustration only

## Slide 11: Conclusion
Sensitivity and Trade-Off

## Slide 12
Sensitivity Analysis [1]
Based on sensitivity analysis, conservation efforts has the highest impact on demand
Conservation efforts

## Slide 13
Trade-Off Analysis [2]
A +- 3% price hike will not change the demand much because water is price inelastic
Price Hike

## Slide 14: If we all play our part in saving water, only 9 new plants are estimated to be needed
Water conservation efforts is key in reducing demand
Increasing local rainwater catchment is key in increasing supply and achieving self-sustainability

## Slide 15: Thank you
Questions and answers

## Slide 16
Sensitivity Analysis [3]
Amount of rainfall has significant impact on water sufficiency in the event of sudden termination of imported water
Rainfall Intensity

## Slide 17
Non-domestic Potable Water
Domestic Potable Water
Industry
Sea
Rain
Collection of rainfall in Water Catchment
Treatment of raw to potable water
Desalination plants
NEWater plants
Collection of used water
Imported Water
Treatment of used water
The Water Loop
Non-potable
water
Households